# Specifications

Bandwidth					7 GHz

Pulse Rise Time				75 picoseconds

Channels					1 Differential, 2 Single, SMA

Range						10 - 200 Ohms

Accuracy					1%  across the range

Impedance Resolution			0.03 Ohms

Lineal Resolution				75 points/inch (.013")

###### Calibration					25, 50, 75, and 100 Ohm Airlines

Traceable to national standards

Inputs

###### USB 2.0 peripheral port

Test probe channels – 4 (SMA)

Anti-static wrist strap cord connection – 4mm

Standard Accessories

50 ohm probe					IP-S-50-1

100 ohm differential probe			IP-D-100-1

50 ohm semi-rigid standard		ACCST-211

SMA Cable - 3 ft. (qty -3)			CBL100

USB Peripheral Cable - 3 ft.		CBL101

USB Footswitch				ACCST-300

ST100 Instruction Manual			IMCST100

Anti-static wrist strap & cable		ACCST-301

SMA Torque Wrench			ACCST-311

Optional Accessories

25 ohm semi-rigid standard		ACCST-200

75 ohm semi-rigid standard		ACCST-221

100 ohm semi-rigid standard		ACCST-231

50 ohm variable pitch probe		IP-50-VP

Zmetrix Inc., www.zmetrix.com