# Specifications

Bandwidth					20 GHz

Pulse Rise Time				25 picoseconds

Channels					4 (configurable as either single or differential)

Range						10 - 200 Ohms

Accuracy					1%  across the range

Impedance Resolution			0.03 Ohms

Lineal Resolution				75 points/inch (.013")

###### Calibration					25, 50, 75, and 100 Ohm Airlines

Traceable to national standards

Inputs

###### High Speed USB 2.0 peripheral port

Test probe channels – 4 (SMA)

Anti-static wrist strap cord connection – 4mm

Standard Accessories

50 ohm semi-rigid standard			ACCST-211

High BandwidthSMA Cable - 3 ft. (qty -2)	CBL104

USB Peripheral Cable - 3 ft.			CBL101

USB Footswitch					ACCST-300

Anti-static wrist strap & cable			ACCST-301

SMA Torque Wrench				ACCST-311

Optional Accessories

25 ohm semi-rigid standard					ACCST-200

75 ohm semi-rigid standard					ACCST-221

100 ohm semi-rigid standard					ACCST-231

50 ohm single-ended variable pitch probe - 7 Ghz		IP-S-50-VP-7

50 ohm single-ended variable pitch probe - 20 Ghz		IP-S-50-VP-20

100 ohm differential variable pitch probe - 7 Ghz		IP-D-100-VP-7

100 ohm differential variable pitch probe - 20 Ghz		IP-D-100-VP-20

Zmetrix Inc., www.zmetrix.com